## Slide 1
Safety signs and symbols
Unit 201: Health and safety in building services engineering

## Slide 2: Safety signs
If a hazard cannot be adequately controlled by any other means then it must be marked with a safety sign.
Every employer must ensure that their employees are trained in the meaning of safety signs.
Emergency escape routes and firefighting equipment must have their locations identified with safety signs.

## Slide 3: Safety signs
Warning signs.
Information signs (advisory).
Mandatory signs.
Prohibition signs.

## Slide 4: Warning signs
Danger Electricity
Drop
General

## Slide 5: Information signs (advisory)
Fire Exit
First Aid
Fire Assembly Point

## Slide 6: Mandatory signs
Safety helmet must be worn
Ear Protection must be worn
Eye Protection must be worn

## Slide 7: Prohibition signs
No Smoking
Do Not Extinguish With Water
No unauthorised Persons

## Slide 8: Firefighting equipment signs

## Slide 9: Symbols for hazardous substances
Toxic:
Chemicals that at low levels cause damage to health.
Harmful:
Chemicals that may cause damage to health.
Corrosive:
Chemicals that may destroy living tissue on contact.
Oxidising:
Chemicals that react exothermically with other chemicals.
Highly flammable:
Chemicals that may catch fire in contact with air, only need brief contact with an ignition source, have a very low flash point or evolve highly flammable gases in contact with water.
Extremely flammable:
Chemicals that have an extremely low flash point and boiling point, and gases that catch fire in contact with air.

## Slide 10
The End
Unit 201: Health and safety in building services engineering