## Slide 1
Resistors in parallel
Unit 202: Principles of electrical science

## Slide 2: Resistors in parallel
1 | = | 1 | + | 1 | + | 1
RT |  | R1 |  | R2 |  | R3

## Slide 3
Calculate the total resistance of a parallel circuit if: R1 = 9Ω, R2 = 12Ω and R3 = 18Ω.
1 | = | 1 | + | 1 | + | 1 | 
RT |  | R1 |  | R2 |  | R3 | 
1 | = | 1 | + | 1 | + | 1 | 
RT |  | 9 |  | 12 |  | 18 | 
Find the lowest common denominator, which is 36:
1 | = | 4 + 3 + 2 | 
RT |  | 36 | 
1 | = | 9 | 
RT |  | 36 | 
Example 1

## Slide 4
RT | = | 36 | 
 |  | 9 | 
 | = | 4Ω | 
Inverting both sides of the equation will give us Rt:
The total resistance of the circuit will determine the amount of current that will flow in that circuit.
Example 1

## Slide 5
Calculate the total resistance of a parallel circuit if R1 = 45Ω, R2 = 90Ω and R3 = 30Ω .
1 | = | 1 | + | 1 | + | 1 | 
RT |  | R1 |  | R2 |  | R3 | 
1 | = | 1 | + | 1 | + | 1 | 
RT |  | 45 |  | 90 |  | 30 | 
Find the lowest common denominator, which is 90:
1 | = | 2 + 1 + 3 | 
RT |  | 90 | 
1 | = | 6 | 
RT |  | 90 | 
Example 2

## Slide 6
RT | = | 90 | 
 |  | 6 | 
 | = | 15Ω | 
Inverting both sides of the equation will give us Rt:
Example 2

## Slide 7
Calculate the total resistance of two resistors connected in parallel if R1 = 6 and R2 = 4.
RT | = | R1 × R2 | 
 |  | R1 + R2 | 
 | = | 6 × 4 | 
 |  | 6 + 4 | 
 | = | 24 | 
 |  | 10 | 
 | = | 2.4Ω | 
Example 3

## Slide 8: Kirchoff’s Current law
The sum of the currents arriving at a point must equal the sum of the currents leaving that point.
IT = I1 + I2 + I3

## Slide 9
I1 | =
V
R1
=
12
4
=
3 amps
I2 | =
V
R2
=
12
6
=
2 amps
I3 | =
V
R3
=
12
12
=
1 amps
Example 4

## Slide 10
1 | = | 1 | + | 1 | + | 1 | 
RT |  | R1 |  | R2 |  | R3 | 
1 | = | 1 | + | 1 | + | 1 | 
RT |  | 4 |  | 6 |  | 12 | 
1 | = | 3 + 2 + 1 | 
RT |  | 12 | 
1 | = | 6 | 
RT |  | 12 | 
RT | = | 12 | 
 |  | 6 | 
 | = | 12 | 
 |  | 6 | 
 | = | 2Ω | 
Example 4

## Slide 11
 | = | 12 | 
 |  | 2 | 
 | = | 6 amps - Kirchhoff’s law is proved | 
Example 4
IT | = | V | 
 |  | RT | 

## Slide 12
The End
Unit 202: Principles of electrical science