## Slide 1
Symbols and scales
Unit 203: Electrical installations technology

## Slide 2
Symbols

## Slide 3
Switching
One way:
Symbols

## Slide 4
Symbols

## Slide 5
Switching
Two way:
Symbols

## Slide 6
Symbols

## Slide 7
Switching
Intermediate:
Symbols

## Slide 8
Symbols

## Slide 9
Switching
Pull cord:
Symbols

## Slide 10
Symbols

## Slide 11
Socket outlets
Switched:
Symbols

## Slide 12
Symbols

## Slide 13
Socket outlets
Unswitched:
Symbols

## Slide 14
Symbols

## Slide 15
Socket outlets
Fused connection units:
Symbols

## Slide 16
Symbols

## Slide 17
Socket outlets
Switched fused connection units:
Symbols

## Slide 18
Symbols

## Slide 19
Lighting points
Fluorescent:
Symbols

## Slide 20
Symbols

## Slide 21
Lighting points
Incandescent:
Symbols

## Slide 22
Symbols

## Slide 23
Lighting points
Wall:
Symbols

## Slide 24
Symbols

## Slide 25
Various
Cooker control unit:
Symbols

## Slide 26
Symbols

## Slide 27
Various
Consumer control unit :
Symbols

## Slide 28
Symbols

## Slide 29
Various
Integrated meter:
Symbols

## Slide 30
Symbols

## Slide 31
Various
Fuse / Circuit breaker:
Symbols

## Slide 32
Example 1. The length of a building is 60 metres, its width is 40 metres and it is drawn to a scale of 1:100. What are the length and breadth of the building on the drawing?
Length | Scale length | = | Actual length | 
 |  |  | Scale | 
 | = | 60 | 
 |  | 100 | 
 | = | 0.6 metres
 | = | 60 cm
Scales

## Slide 33
Width | Scale length | = | Actual length | 
 |  |  | Scale | 
 | = | 40 | 
 |  | 100 | 
 | = | 0.4 metres
 | = | 40 cm
Scales

## Slide 34
Example 2. On a plan with a scale of 1:50, a socket is measured at 23mm from a wall. How far from the wall must the socket be installed in the finished installation?
Actual distance | = | Distance on plan x scale
 | = | 23 x 50
 | = | 1,150mm
 | = | 1.15 metres
Scales

## Slide 35
The End
Unit 203: Electrical installations technology