## Slide 1
Alarm and emergency systems
Unit 203: Electrical installations technology

## Slide 2
Basic alarm circuit configurations:
open circuit
closed circuit.
Alarm and emergency systems

## Slide 3
Open circuit
Alarm and emergency systems

## Slide 4
Closed circuit
Alarm and emergency systems

## Slide 5
Fire alarm – protects:
life
property.
Alarm and emergency systems

## Slide 6
Alarm and emergency systems
Fire alarm – automatic detectors:
smoke detectors
heat detectors
flame detectors.

## Slide 7
Intruder alarm detectors:
break glass detectors
door and window contacts
passive infrared movement detectors
ultrasonic movement detectors
microwave movement detector
beam break detectors.
Alarm and emergency systems

## Slide 8
Emergency lighting
Maintained
Alarm and emergency systems

## Slide 9
Emergency lighting
Non-maintained
Alarm and emergency systems

## Slide 10
The End
Unit 203: Electrical installations technology