## Slide 1
Trunking systems
Unit 203: Electrical installations technology

## Slide 2
Three main types:
metal (steel)
PVC
mini trunking.
Trunking systems

## Slide 3
Advantages:
affords conductors good mechanical protection
can accommodate many cables of different sizes
permits easy rewiring
minimises fire risks
can be utilised as the circuit protective conductor.
Disadvantages:
expensive compared with some other systems
requires skill to fabricate and install
difficult to make it gas- and water-proof
liable to corrosion when subject to acid, alkali and other fumes.
Trunking systems
Steel trunking

## Slide 4
Trunking systems

## Slide 5
Lighting trunking

## Slide 6
Skirting trunking

## Slide 7
Dado trunking

## Slide 8
Underfloor trunking

## Slide 9
Busbar trunking

## Slide 10
Rising main trunking

## Slide 11
PVC trunking

## Slide 12
PVC mini trunking

## Slide 13
Sizing trunking systems

## Slide 14
Sizing trunking systems

## Slide 15
Example 1. The following PVC insulated cables are to be installed in steel cable trunking:
10 off 4mm2 cables
10 off 6mm2 cables
10 off 10mm2 cables.
Calculate the size of cable trunking that would be suitable for this application.
Cable factors from Table E5 (On-Site Guide)
10 off solid core 4mm2 | = | 16.6 x 10 | = | 166
10 off solid core 6mm2 | = | 21.2 x 10 | = | 212
10 off solid core 10mm2 | = | 35.3 x 10 | = | 353
Cable factors total | = | 166 + 212 + 353 | = | 731
From On-Site Guide Table E6, size required | = | 75 x 25mm
Sizing conduit systems

## Slide 16
The End
Unit 203: Electrical installations technology