## Slide 1
Electricity supply
Unit 203: Electrical installations technology

## Slide 2
The electricity supply industry comprises:
generation
transmission
distribution.
Electricity supply

## Slide 3
Three transmission voltages are used:
400kV
275kV
132kV.
Electricity supply

## Slide 4
Three distribution voltages are used:
33kV
11kV
400/230V.
Electricity supply

## Slide 5
Component parts of the electrical distribution network include:
sub-stations
pylons
power stations
cables
insulators
transformers.
Electricity supply

## Slide 6
Electricity supply

## Slide 7
The End
Unit 203: Electrical installations technology