## Slide 1: Phase rotation
PowerPoint presentation
Unit 304: Electrical Installations: inspection, testing and commissioning

## Slide 2: Phase rotation
Correct phase sequence means that the phase sequence of the incoming line conductors (i.e. Brown – L1; Black – L2; Grey – L3) is the same throughout the whole installation.

## Slide 3: Phase rotation
Optionally and occasionally, the inspector may wish to check phase sequence by using a phase rotation tester, either
rotating disc type, or
indicator lamp type.
Instruments containing both of the above forms of indicators are also available.

## Slide 4: Phase rotation

## Slide 5
Any questions?