# Lesson #4.00

# 2365 - Level 3 City and Guilds

The Breakdown of the resistances	5

Part one	8

End of Part one	10

Worksheet 2 - WS2	11

WS2 Question 1	11

WS2 Question 2	12

WS2 Question 3	13

WS2 Question 4	15

WS2 Question 5	18

WS2 Question 6	21

Worksheet 3 - WS3	24

WS3 - Question 1	24

People think that electricity gives light. However, this is wrong. In modern lighting systems such as an LED which has a chemical inside. Once you provide the chemical with additional electrons it becomes hot. The heat creates the light.

DC is better for heating than AC.

Trains run on DC.

DC there is only resistance in ohms (RΩ )

Voltage drops happens because of the distance.

In phase, DC when you put pressure behind it flows.

An example, of DC is solar panel and battery.

In order to create electricity you must spin a magnet inside a magnet.

Electrons only flow in a complete circuit.

Because, electrons need to take the place of other moving electrons.

Electricity is about capturing magnetism.

In the OFF state the magnet is completely flat. No electrical current is being induced.

Frequence is measured in Hertz.

Power = Current x Voltage. Measured in watts.

In phase/in sync current and voltage are in a purely-resistive load.

The voltage of the sockets is 230 volts.

RMS => Root Mean Square

RMS is 0.707 which means 70%.

The Voltage is only at the peak for a very short time. So they wanted to find the DC equivalent which is 230 volts. This is the 70.7%.

Coil same as an inductor. Because, it induces a magnetic field.

When you put electricity through a coil it induces a magnetic field. When the magnetic changes position the magnetic field collapses and starts up again. Which is why the graph of an AC is in a wave like motion.

In an inductor you apply pressure (voltage) then there is movement (current).

Current lags voltage in an inductor by 90 degrees. Because, there is a moment where there is a plain state. Which causes the electrons to collapse.

# The Breakdown of the resistances

XLΩ - Inductive reactance is measured in ohms Ω. This is a resistance in a coil ( the inductor).

RΩ - We have resistance from the copper wire itself and the distance.

Z = total resistance which is XLΩ + RΩ .

Image AA

Ze = X + R.

Zs = Ze + (R1 + R2).

Ze is from the transformer to Image AA ****

# Part one

A coil will become magnetised. The number of coils is measured in Henrys.

This calculation is to determine how much resistance is in the coil. The resistance in a coil is stored in a variable called XL.

XL = 2πFL

XL = 2 X π X F X L (Frequency, Henry)

2 X 3.14 X 50 Hz X 0.2

Answer: 02.83Ω

Total resistance is stored into a variable called Z.

Z = XL + R.

Total resistance = Inductive resistance (coil resistance) + resistance (resistance in the copper itself)

# End of Part one

# Worksheet 2 - WS2

# WS2 Question 1

Question 1 a) The inductive reactance of the circuit

XL = 2πFL

XL = 2 X π X F X L (Frequency, Henry)

2 X 3.14 X 50 H X 1 = 314.16 Ω

Question 1 b) The current that will flow:

230 V / 314Ω = 0.732 amps

# WS2 Question 2

Question 2 a) The Inductive reactance of the circuit.

Two pies for lunch

XL = 2πFL

XL = 2 X π X F X L (Frequency, Henry)

2 X 3.14 X 60 Hz X 20 (mH, millihenry)

= 7.536 (2 d.p)

Answer = 7.54 ohms

Question 2 b) The current that will flow

Current is 53.05 amps

# WS2 Question 3

Question 3 An inductance with a value of 0.15H is connected across a 100v 400Hz supply. Calculate the current that will flow in the circuit.

We know:

- 400 Hz

- 0.15 Henrys

- 100 V

Step a)
Calculate the inductance XL first.

XL = 2 X π X F X L (Frequency Hz, Henry H or millihenry mH)

2 X 3.14 X 400 Hz X 0.15 H

Inductance XL = 376.8 Ω

Step b) Calculate the current that will flow in the circuit.

100 V / 376.8Ω = 0.265 (2 d.p)

= 0.27 amps

# WS2 Question 4

Question 4

When an inductor is connected across a 230v 50 Hz supply, a current of 2.5A is recorded as flowing in the circuit. Calculating the inductance of the coil in Henrys.

What we know:

- 230 volts

- 50 Hertz Hz

- 2.5 Amps

Put the information into a triangle.

Step a)

Step b)

XL = 230 volts / 2.5 amps

Inductive reactance = 92

Step c)

92 = 2 X π X F X L (Frequency Hz, Henry H or millihenry mH)

92 = 2 X 3.14 X 50Hz X ?

Step d)

Answer = 0.293 H (Henrys)

# WS2 Question 5

When an Inductor is connected across a 100v, 25 Hz supply, a current of 4.0A is recorded as flowing in the circuit. Calculate the Inductance of the coil in Henrys?

Step one

What we know:

- 100 volts

- 25 Hertz Hz

- 4.0 Amps

XL = 2 X π X F X L (Frequency Hz, Henry H or millihenry mH)

XL = 2 X 3.14 X 25 Hz X ?

Step two

100 / 4.0 = 25

Step three

Step four

Step five

Step six

# WS2 Question 6

Question 6

When an Inductor is connected across a 110v 325Hz supply, a current of 5.0A is recorded as flowing in the circuit. Calculate the Inductance of the coil.

What we know:

- 110 Volts

- 325 Hertz

- 5.0 amps

- ? Unknown is the Henrys.

XL = 2 X π X F X L (Frequency Hz, Henry H or millihenry mH)

XL = 2 X 3.14 X 325 Hz X ?

Step one

110 V / 5.0 = 22 Ω

The answer is 22 Ω for the Inductive reactance.

Step two -  (This is an additional step to calculate the Inductance of the coil in Henrys. However, it is not mandatory because the question states “Calculate the Inductance of the coil”)

XL = 2 X π X F X L (Frequency Hz, Henry H or millihenry mH)

22 Ω  = 2 X 3.14 X 325 Hz X ?

= 0.0108 Henrys (2 D.P)

= 0.011 Henrys

# Worksheet 3 - WS3

# WS3 - Question 1