Overview of the practical exam for 2365	1

Light switch Step one	2

Light Switch Step Two	2

Light switch Step three	3

Steel conduit - Ring Circuit	3

SWA Radial Circuit	3

The overall schematic for the circuit board that I have to design.

# Overview of the practical exam for 2365

# Light switch Step one

# Light Switch Step Two

# Light switch Step three

# Steel conduit - Ring Circuit

The ring circuit as long as you have 2 blue 2 brown and 2 green at every point that means you will have the same at the fuse board both L and N both connected to the breaker and green to earth.

# SWA Radial Circuit

The swa brown, black and grey in the fuse board black is earth. Grey is n. Don’t forget sleeving. You will be fine.

Brown => Live

Black => yellow/green sleeving => earth

Grey=> Blue sleeve => Neutral